## xrf_data
Reading # | Job | Room | Side | Component | Substrate | Condition | Color | Result | PbC | Units
1 | 228 Us 13N | Calibration | [5 empty] | Positive | 1 | mg/cm2
2 | 228 Us 13N | Calibration | [5 empty] | Positive | 1 | mg/cm2
3 | 228 Us 13N | Calibration | [5 empty] | Positive | 1 | mg/cm2
4 | 228 Us 13N | Dining Room | A | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
5 | 228 Us 13N | Dining Room | B | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
6 | 228 Us 13N | Dining Room | C | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
7 | 228 Us 13N | Dining Room | D | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
8 | 228 Us 13N | Dining Room | D | Door Casing | Wood | Intact | Grey | Negative | 0 | mg/cm2
9 | 228 Us 13N | Dining Room | B | Crown Molding | Wood | Intact | Grey | Negative | 0 | mg/cm2
10 | 228 Us 13N | Dining Room | C | Baseboard | Wood | Intact | Grey | Negative | 0 | mg/cm2
11 | 228 Us 13N | Dining Room | --- | Ceiling | Wood | Intact | White | Negative | 0 | mg/cm2
12 | 228 Us 13N | Dining Room | --- | Floor | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
13 | 228 Us 13N | Living Room/Kitchen | A | Wall | Wood | Intact | Brown | Negative | 0 | mg/cm2
14 | 228 Us 13N | Living Room/Kitchen | A | Door | Wood | Intact | Brown | Negative | 0 | mg/cm2
15 | 228 Us 13N | Living Room/Kitchen | A | Door Casing | Wood | Intact | Brown | Negative | 0 | mg/cm2
16 | 228 Us 13N | Living Room/Kitchen | A | Crown Molding | Wood | Intact | Brown | Negative | 0 | mg/cm2
17 | 228 Us 13N | Living Room/Kitchen | A | Window Sill | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
18 | 228 Us 13N | Living Room/Kitchen | A | Window Casing | Wood | Intact | Brown | Negative | 0 | mg/cm2
19 | 228 Us 13N | Living Room/Kitchen | D | Wall | Wood | Intact | Brown | Negative | 0 | mg/cm2
20 | 228 Us 13N | Living Room/Kitchen | B | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
21 | 228 Us 13N | Living Room/Kitchen | C | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
22 | 228 Us 13N | Living Room/Kitchen | C | Window Sill | Wood | Intact | Brown | Negative | 0 | mg/cm2
23 | 228 Us 13N | Living Room/Kitchen | C | Window Casing | Wood | Intact | Brown | Negative | 0 | mg/cm2
24 | 228 Us 13N | Living Room/Kitchen | D | Cabinets Door | Wood | Intact | Brown | Negative | 0 | mg/cm2
25 | 228 Us 13N | Living Room/Kitchen | D | Cabinets Frame | Wood | Intact | Brown | Negative | 0 | mg/cm2
26 | 228 Us 13N | Bedroom 2 | A | Wall | Wood | Intact | Beige | Negative | 0.1 | mg/cm2
27 | 228 Us 13N | Bedroom 2 | B | Wall | Wood | Intact | Beige | Negative | 0 | mg/cm2
28 | 228 Us 13N | Bedroom 2 | C | Wall | Wood | Intact | Beige | Negative | 0 | mg/cm2
29 | 228 Us 13N | Bedroom 2 | D | Wall | Wood | Intact | Beige | Negative | 0 | mg/cm2
30 | 228 Us 13N | Bedroom 2 | C | Door Casing | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
31 | 228 Us 13N | Bedroom 2 | C | Door | Wood | Intact | Brown | Negative | 0 | mg/cm2
32 | 228 Us 13N | House | A | Door | Metal | Intact | Brown | Negative | 0.1 | mg/cm2
33 | 228 Us 13N | House | A | Door Casing | Metal | Intact | Brown | Negative | 0.3 | mg/cm2
34 | 228 Us 13N | House | A | Wall | Brick | Intact | Beige | Negative | 0 | mg/cm2
35 | 228 Us 13N | House | A | Soffit | Wood | Intact | White | Negative | 0.5 | mg/cm2
36 | 228 Us 13N | House | A | Fascia | Wood | Intact | Brown | Negative | 0 | mg/cm2
37 | 228 Us 13N | House | A | Window Sill | Metal | Intact | White | Negative | 0.2 | mg/cm2
38 | 228 Us 13N | House | A | Window Casing | Metal | Intact | White | Negative | 0.2 | mg/cm2
39 | 228 Us 13N | House | A | Window Shutter | Wood | Intact | Brown | Negative | 0 | mg/cm2
40 | 228 Us 13N | House | B | Window Sill | Metal | Intact | White | Negative | 0.2 | mg/cm2
41 | 228 Us 13N | House | B | Window Casing | Metal | Intact | White | Negative | 0.1 | mg/cm2
42 | 228 Us 13N | House | B | Wall | Brick | Intact | Beige | Negative | 0.2 | mg/cm2
43 | 228 Us 13N | House | B | Wall | Brick | Intact | Red | Negative | 0.2 | mg/cm2
44 | 228 Us 13N | House | B | Railing | Metal | Intact | Brown | Negative | 0 | mg/cm2
45 | 228 Us 13N | House | B | Door Casing | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
46 | 228 Us 13N | House | B | Door Step | Wood | Intact | Brown | Negative | 0 | mg/cm2
47 | 228 Us 13N | House | A | Door | Wood | Intact | Brown | Negative | 0 | mg/cm2
48 | 228 Us 13N | House | C | Wall | Brick | Intact | Beige | Negative | 0.1 | mg/cm2
49 | 228 Us 13N | House | C | Door Casing | Wood | Intact | Brown | Negative | 0 | mg/cm2
50 | 228 Us 13N | House | C | Window Sill | Metal | Intact | White | Negative | 0.1 | mg/cm2
51 | 228 Us 13N | House | C | Window Casing | Metal | Intact | White | Negative | 0.2 | mg/cm2
52 | 228 Us 13N | House | D | Window Casing | Metal | Intact | White | Negative | 0.2 | mg/cm2
53 | 228 Us 13N | House | D | Window Sill | Metal | Intact | White | Negative | 0.1 | mg/cm2
54 | 228 Us 13N | House | D | Wall | Brick | Intact | Beige | Negative | 0.1 | mg/cm2
55 | 228 Us 13N | Bedroom 2 | A | Window Sill | Wood | Intact | Brown | Negative | 0 | mg/cm2
56 | 228 Us 13N | Bedroom 3 | A | Wall | Wood | Intact | Beige | Negative | 0 | mg/cm2
57 | 228 Us 13N | Bedroom 3 | B | Wall | Wood | Intact | Beige | Negative | 0 | mg/cm2
58 | 228 Us 13N | Bedroom 3 | C | Wall | Wood | Intact | Beige | Negative | 0.1 | mg/cm2
59 | 228 Us 13N | Bedroom 3 | D | Wall | Wood | Intact | Beige | Negative | 0 | mg/cm2
60 | 228 Us 13N | Bedroom 3 | A | Door | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
61 | 228 Us 13N | Bedroom 3 | A | Door Casing | Wood | Intact | Brown | Negative | 0 | mg/cm2
62 | 228 Us 13N | Bedroom 3 | C | Window Sill | Wood | Intact | Brown | Negative | 0 | mg/cm2
63 | 228 Us 13N | Bedroom 3 | C | Window Casing | Wood | Intact | Brown | Negative | 0 | mg/cm2
64 | 228 Us 13N | Bedroom 1 | A | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
65 | 228 Us 13N | Bedroom 1 | B | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
66 | 228 Us 13N | Bedroom 1 | C | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
67 | 228 Us 13N | Bedroom 1 | D | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
68 | 228 Us 13N | Bedroom 1 | B | Door | Wood | Intact | Brown | Negative | 0.1 | mg/cm2
69 | 228 Us 13N | Bedroom 1 | B | Door Casing | Wood | Intact | White | Negative | 0 | mg/cm2
70 | 228 Us 13N | Bedroom 1 | D | Window Sill | Wood | Intact | White | Negative | 0.1 | mg/cm2
71 | 228 Us 13N | Bedroom 1 | D | Window Casing | Wood | Intact | White | Negative | 0 | mg/cm2
72 | 228 Us 13N | 1/2 Bathroom | A | Wall | Wood | Intact | White | Negative | 0.2 | mg/cm2
73 | 228 Us 13N | 1/2 Bathroom | B | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
74 | 228 Us 13N | 1/2 Bathroom | C | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
75 | 228 Us 13N | 1/2 Bathroom | D | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
76 | 228 Us 13N | 1/2 Bathroom | A | Door | Wood | Intact | White | Negative | 0 | mg/cm2
77 | 228 Us 13N | 1/2 Bathroom | A | Door Casing | Wood | Intact | White | Negative | 0 | mg/cm2
78 | 228 Us 13N | 1/2 Bathroom | D | Crown Molding | Wood | Intact | White | Negative | 0 | mg/cm2
79 | 228 Us 13N | 1/2 Bathroom | C | Window Sill | Wood | Intact | White | Negative | 0 | mg/cm2
80 | 228 Us 13N | 1/2 Bathroom | C | Baseboard | Wood | Intact | White | Negative | 0 | mg/cm2
81 | 228 Us 13N | Bathroom 2 | A | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
82 | 228 Us 13N | Bathroom 2 | B | Wall | Wood | Intact | White | Negative | 0 | mg/cm2
83 | 228 Us 13N | Bathroom 2 | C | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
84 | 228 Us 13N | Bathroom 2 | D | Wall | Wood | Intact | White | Negative | 0.1 | mg/cm2
85 | 228 Us 13N | Bathroom 2 | D | Wall | Ceramic | Intact | Blue | Negative | 0 | mg/cm2
86 | 228 Us 13N | Bathroom 2 | C | Wall | Ceramic | Intact | Blue | Negative | 0.1 | mg/cm2
87 | 228 Us 13N | Bathroom 2 | D | Wall | Ceramic | Intact | Blue | Negative | 0 | mg/cm2
88 | 228 Us 13N | Bathroom 2 | A | Wall | Ceramic | Intact | Blue | Negative | 0 | mg/cm2
89 | 228 Us 13N | Bathroom 2 | A | Door | Wood | Intact | Brown | Negative | 0 | mg/cm2
90 | 228 Us 13N | Bathroom 2 | A | Door Casing | Wood | Intact | Brown | Negative | 0 | mg/cm2
91 | 228 Us 13N | Bathroom 2 | C | Window Sill | Wood | Intact | Brown | Negative | 0 | mg/cm2
92 | 228 Us 13N | Bathroom 2 | B | Tub | Ceramic | Intact | White | Positive | 29 | mg/cm2
93 | 228 Us 13N | Calibration | [5 empty] | Positive | 1.2 | mg/cm2
94 | 228 Us 13N | Calibration | [5 empty] | Positive | 1.2 | mg/cm2
95 | 228 Us 13N | Calibration | [5 empty] | Positive | 1.2 | mg/cm2